|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sales Model:** 3516 DITA | **Invoice Number:**GE 187261  | **Dealer:** H390  | **S.O. Number:** CN89500 | **Invoice Date:** 1994-10-21  |

|  |
| --- |
| [Part Numbers](https://tmiwebclassic.cat.com/tmi/servlet/TMIDirector?Action=buildtab&refkind=RNTMIRefNum&tab=ASAsShippedDisplay&hideBackButton=1&tabkey=25Z04149&serialnumber=25Z04149&builddate=1994-10-05&isPerkins=false&tabParam1=engineTest&searchkey=25Z04149#PartNumbers) |

|  |
| --- |
| [Help](https://tmiwebclassic.cat.com/tmi/servlet/TMIDirector?Action=buildtab&refkind=RNTMIRefNum&tab=ASAsShippedDisplay&hideBackButton=1&tabkey=25Z04149&serialnumber=25Z04149&builddate=1994-10-05&isPerkins=false&tabParam1=engineTest&searchkey=25Z04149)  |
| **Part Numbers**[**Top**](https://tmiwebclassic.cat.com/tmi/servlet/TMIDirector?Action=buildtab&refkind=RNTMIRefNum&tab=ASAsShippedDisplay&hideBackButton=1&tabkey=25Z04149&serialnumber=25Z04149&builddate=1994-10-05&isPerkins=false&tabParam1=engineTest&searchkey=25Z04149#top) |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|

|  |
| --- |
| 42 results found, displaying 1 to 42  |
| Reference Number | Eng Chg | Quantity | ASM | LESSRemove  | Set Type | Description | Reference Drawing | SIS Part Diagram Download |
|  PA5112  | 01 | 1 | I |  |  | 3516 1750 EKW 60 HZ PGS-STBY  | Drawing...  |  |
|  |
|  - 4P4444  | 12 | 1 | I |  |  | 3516 DITA ENGINE AR-BASIC  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=4P4444)  |
|  |
|  - 3L0414  |  | 1 | I |  |  | SINGLE BEARING GEN ALIGN-3500  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=3L0414)  |
|  |
|  - 3L0432  |  | 1 | I |  |  | TEST - PKG GEN SET (EMCP II)  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=3L0432)  |
|  |
|  - 4P0558  | 00 | 1 | I |  |  | CLEANER GP - AIR-B  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=4P0558)  |
|  |
|  - 4P7610  | 01 | 1 | I |  |  | PICK UP GP - MAGNETIC  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=4P7610)  |
|  |
|  - 5N7562  | 00 | 1 | I |  |  | NOTE-CONTROL PANEL MTG (REAR)  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=5N7562)  |
|  |
|  - 5N7588  |  | 1 | I |  |  | NOTE-CONT.& PNL CHART 1031582  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=5N7588)  |
|  |
|  - 5P2506  | 00 | 1 | I |  |  | LITERATURE GP - ENGLISH  | Drawing...  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=5P2506)  |
|  |
|  - 6I0134  | 04 | 1 | I |  |  | MOUNTING GP - ACL  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=6I0134)  |
|  |
|  - 7C0527  | 02 | 1 | I |  |  | MOTOR GP-ELEC.START (DUAL) 24V | Drawing...  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=7C0527)  |
|  |
|  - 7C1627  | 00 | 1 | I |  |  | GENERATOR 807 FRAME SE  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=7C1627)  |
|  |
|  - 7C1664  | 04 | 1 | I |  |  | DRIVE GROUP - FAN  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=7C1664)  |
|  |
|  - 7C2459  | 01 | 1 | I |  |  | GUARD GP - BELT  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=7C2459)  |
|  |
|  - 7C2561  | 02 | 1 | I |  |  | CONNECTION GP  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=7C2561)  |
|  |
|  - 7N6782  | 06 | 1 | I |  |  | INDICATOR GP-FILTER CHANGE  | Drawing...  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=7N6782)  |
|  |
|  - 7W3759  | 02 | 1 | I |  |  | RAIL GP-ENG.SUPPORT(GEN,RAD &) |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=7W3759)  |
|  |
|  - 7W5224  | 00 | 1 | I |  |  | FAN PULLEY 0.428 RATIO  | Drawing...  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=7W5224)  |
|  |
|  - 7W5639  | 01 | 1 | I |  |  | BLOWER FAN  | Drawing...  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=7W5639)  |
|  |
|  - 7W6669  | 01 | 1 | I |  |  | GUARD GP - DAMPER  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=7W6669)  |
|  |
|  - 7W8708  | 00 | 1 | I |  |  | INSTALLATION ARRANGEMENT  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=7W8708)  |
|  |
|  - 8N9639  | 04 | 1 | I |  |  | GUARD GP-DAMPER  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=8N9639)  |
|  |
|  - 9Y2582  | 03 | 1 | I |  |  | TERMINAL STRIP CONNECTION  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=9Y2582)  |
|  |
|  - 9Y6676  | 03 | 1 | I |  |  | RADIATOR GP (C) (46/CV) (IEA)  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=9Y6676)  |
|  |
|  - 1035640  | 02 | 1 | I |  |  | HARNESS AS - WIRING-3516  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=1035640)  |
|  |
|  - 1036101  | 01 | 1 | I |  |  | CONTROL GP -A  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=1036101)  |
|  |
|  - 1044704  | 03 | 1 | I |  |  | MTG GP - CONTROL PNL (EMCP II) |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=1044704)  |
|  |
|  - 1049728  | 01 | 1 | I |  |  | MOUNTING GP - CONTACTOR  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=1049728)  |
|  |
|  - 1057184  | 02 | 1 | I |  |  | FASTENER GP - EMCP II (3516)  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=1057184)  |
|  |
|  - 1080726  | 01 | 1 | I |  |  | CONNECTIONS GP - ELECTRICAL  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=1080726)  |
|  |
|  9Y7822  | 01 | 1 | I |  |  | DUCT FLANGE  | Drawing...  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=9Y7822)  |
|  |
|  1052048  | 01 | 1 | I |  |  | COOLANT LEVEL SENSOR  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=1052048)  |
|  |
|  5N2438  | 05 | 1 | I |  |  | FLEXIBLE FUEL LINES  | Drawing...  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=5N2438)  |
|  |
|  7E6681  | 03 | 1 | I |  |  | FUEL COOLER  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=7E6681)  |
|  |
|  1070169  | 00 | 1 | I |  |  | FUEL PRIMING PUMP  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=1070169)  |
|  |
|  PA5313  | 00 | 1 | I |  |  | LUBRICATING OIL  |  |  |
|  |
|  - 5P2586  | 03 | 1 | I |  |  | OIL - BULK - ONE LITER  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=5P2586)  |
|  |
|  6I2964  | 00 | 1 | I |  |  | AUTOMATIC VOLTAGE REGULATOR  |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=6I2964)  |
|  |
|  0P1560  |  | 1 | I |  |  | E\_3\_\_\_\_\_\_\_\_\_\_\_\_\_3 EMCPII PANEL |  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=0P1560)  |
|  |
|  9Y7876  | 00 | 1 | I |  |  | OIL PAN DRAIN VALVE  | Drawing...  | [View Diagram](https://sis.cat.com/sisweb/servlet/cat.dcs.sis.controller.integration.CSSISIntegrationServlet?accessmethod=parts&interfaceind=A&lang=E&infotypeid=5&3framestate=N&serialno=25Z04149&searchword=9Y7876)  |
|  |
|  PP1107  | 00 | 1 | I |  |  | 2520BHP 1800GEN KWWOF 60HZ SBY |  |  |
|  |
|  - 0T9477  | 00 | 1 | I |  |  | 1879 KW @ 1800 RPM (2520 BHP)  |  |  |

 |